## Payload
P=PIM | E=Engineering Payload
P=Operations Payload
Original Campaign ID (pre June 2014) | New Campaign ID (post June 2014) | Payload ID | Payload Install Date | Payload Deinstall Date | Tail Number | Instruments | Sites Flown | Comments
2012_PAC1 | 2012_E1C1 | E1 | May 2012 | May 2012 |  | NISDVU, 11SEN2878 | GRJC, TLRD, GRMS, CPRT, IVPH
2012_PAC2 | 2012_E1C2 | E1 | August 2012 | August 2012 |  | NISDVU, 11SEN2878 | HARV, HGPK, GRJC
2012_PAC3 | 2012_E1C3 | E1 | October 2012 | October 2012 |  | NISDVU, 11SEN2878 | HGPK, GRJC
2013_PBC1 | 2013_E2C1 | E2 | May 2013 | July 2013 | N692AR | NIS1, Hybrid 11SEN287/12SEN311 | HGPK, STER, CPER, RMNP, BLDR, GRJC, UNCP, COMT, RTLS, NIWO, RRVY, SJER, SOAP, TEAK, GRTR
2013_PBC2 | 2013_E3C1 & 2013_E4C1 | E3 & E4 | October 2013 | October 2013 | N692AR | NIS1, 11SEN287 & 12SEN311 | BLDR, GRJC, GRMS, UNCP
2014_PBC1 | 2014_P1C1 | P1 | April 2014 | June 2014 | N692AR | NIS1, 11SEN287, support rack 1 (AXE 1), telemetry 1 | GRJC, UNCP, RRVY, OSBS, DSNY, JERC, HARV, BURL, BART, RMMA
N/A | 2014_E5C1 | E5 | 3 September 2014 | 17 October 2014 | N692AR | NIS2, 12SEN287, support rack 1 (AXE 1), telemetry 1 | RMMA (a variety of engineering/calibration sites), HGPK
N/A | 2015_E6C1 | E6 | 3-6 March 2015 | 27 March 2015 | N692AR | Riegl Q780 Lidar and Camera System - LA201405 | KBDU Nominal Runway 1 & 2, GREL Boresight, IMU Drift, BKLF Black Forest, NIWO Niwot Ridge & Ned., BLDR Boulder P1 & P2 (Eldo), HGPK subset, CPER | Riegl acceptance and training
| 2015_P1C1 | P1 | 4 May 2015 | P1 not deinstalled | N692AR | P1: NIS1, 11SEN287, Support Rack 1 (AXE 2), Telemetry 1 | KBDU Nominal Runway , KBDU High Alt, KDBU Wiggle, GREL Boresight/GeoCal, NIWO High Alt, Boulder East, CPER | P1 Acceptance Testing (AT). P1 not deinstalled, plane returned to GJ for Solar Spectral Irradiance Monitor (SSIM) installation on 24 May 2015
| 2015_E7C1 | E7 | Week of 24 May 2015 | SSIM deinstalled 18 June 2015 | N692AR | SSIM w/ P1 | KBDU SSIM Wiggle, Nominal Runway, SSIM Greeley Leveling Platform Tests, Table Mountain, Boulder Reservoir | SSIM w/ P1
| 2015_P1C2 | P1 | Back to same config as 2015_P1C1 on 19 June 2015 |  | N692AR | P1: NIS1, 11SEN287, Support Rack 1 (AXE 2), Telemetry 1 | Greeley Boresight & GeoCal, High Park, NEON HQ Lidar Validation | P1 at High Park, D7 & D8

## NIS Camera Model
NIS Camera Models
Year | NIS | Payload | Site | Lever Arm | Nominal Timing Offset | CM Collect Date | CM Creation Date | CM Effective Date Range | Camera Model (CM) | Notes
2012 | NISDVU | 2012_E1C1 | GRJC | [0.383d, 0.078d, -0.072d] | 0 |  |  |  |  | Several version of 2012 Camera Models exist:
2012 | NISDVU | 2012_E1C2 | GRJC | [0.4735d, 0.0856d, -0.1024], Don't use, not NEON? | 0 |  |  |  |  | https://svn.neon.local/!/#AOP/view/head/DataProcessing/OrthoProcessing/NIS_geolocate_calibrate/branch/wgallery/camera_models/NIS
2012 | NISDVU | 2012_E1C3 | GRJC |  | 0
2013 | NIS-1 | 2013_E2C1 | GRJC | [0.34248d, 0.05235d ,-0.0725] | 0.015 | 2013-07-17 | 2014-04-03 |  | nis1_cam_000_camera_cal3_2014_04_03_21_27_54 | Variable timing offset, used +0.015, extensive work with camera model without perfect results
2013 | NIS-1 | 2013_E3C1 2013_E4C1 |  | [0.34248d, 0.05235d ,-0.0725] | [5 empty] | Includes post-flood Boulder data, currently no Camera Model
2014 | NIS-1 | 2014_P1C1 | GRJC | [0.34248d, 0.05235d ,-0.0725] | 0.005 | 2014-04-17 | 2014-05-23 |  | 20140417_NIS1_camera_cal_w_0pt005_offset_2014_05_23_09_20_21 | Camera model developed with 0.005 offset, postulate that 0.015 would have produced better results.
2014 | NIS-2 | 2014_E5C1 | GREL A | [0.34248d, 0.05235d ,-0.0725] | 0.015 | 2014-09-14 | 2015-04-29 |  | 20140914_NIS2_camera_cal_0_2015_04_29_17_46_31 | Camera model developed with +1.015 offset, range was [-0.985, +0.015, +1.015]
2015 |  | 2015_E6C1 | [7 empty] | Riegl LiDAR only
2015 | NIS-1 | 2015_P1C1 | GREL B | [0.34248d, 0.05235d ,-0.0725] | 0.015 | 2015-06-24 | 2015-08-15 |  | 20150624_NIS1_camera_cal_0_2015_08_15_07_17_32 | First Camera Model at new GREL site, also use for commissioning
|  | 2015_E7C1 | [6 empty] | Same Installation | Camera model developed with +0.015 offset
|  | 2015_P1C2 | [6 empty] | Same Installation
2016 | NIS-2 | 2016_P2C1 | GREL B | [0.34248d, 0.05235d ,-0.0725] | -0.805 | 2016-03-14 | 2017-02-13 | N/A (NIS-2 Commissioning) | 20160314_NIS2_camera_cal_0_2017_02_13_17_55_38 | Used for 2016 Payload 2 Commissioning. Camera model developed with unweighted tie points using neon_aig_vswir_demo_cal3_gcp_weight1_tieweight0.pro
2016 | NIS-1 | 2016_P1C2 | GREL B |  | 0.015 | 2016-04-02 | 2016-05-17 | 04/03/2016 - 10/01/2016 | NIS01_camera_supercal_20160517_181830 | Created by Joe Boardman
2016 | NIS-1 | 2016_P1C2 | GREL B | [0.34248d, 0.05235d ,-0.0725] | 0.015 | 2016-10-08 | 2017-01-18 | N/A | 20161008_NIS1_camera_cal_0_2017_01_18_18_05_38 | Post 2016 P1C2 flight season, not used for processing. Camera model developed with unweighted tie points using neon_aig_vswir_demo_cal3_gcp_weight1_tieweight0.pro. Only flight lines 2, 10, 13, 16, & 19 were used because of high trajectory errors during the middle of the flight due to lost satellites.

## Parameters
| Center Px | FOV | Roll | Pitch | Yaw | Lgnr A1 | Lgnr A2 | Lgnr A3 | Lgnr B1 | Lgnr B2 | Lgnr B3
20140417_NIS1_camera_cal_w_0pt005_offset_2014_05_23_09_20_21 | 329.8094 | 35.3555 | -0.27088 | -1.1251 | -0.071748 | 0.011406 | -0.00015175 | 0.00029362 | -0.00073607 | -0.0062479 | 0.00026964
20150624_NIS1_camera_cal_0_2015_08_15_07_17_32 | 318.9776 | 35.3638 | 0.41948 | -1.1085 | -0.13269 | 0.011139 | -1.4347e-05 | 3.7681e-06 | -8.7881e-06 | -0.0062783 | 5.9813e-05
% Different | 3.3958 | -0.023509 | -164.5751 | 1.499 | -45.9275 | 2.3949 | 957.71 | 7692.2152 | 8275.7129 | -0.48332 | 350.8075